UMD – Laser Template

Fill in the information that is highlighted.

Refer to:  http://www.d.umn.edu/ehso/Documents/Laser_Safety.pdf for additional laser training information and responsibilities.

STANDARD OPERATING PROCEDURE (SOP) FOR LASER:

| PI Name | Lab Location(s) (Bldg / Rm) | Date SOP Completed |
| --- | --- | --- |

| Laser Class1 |  | Laser Type2 |  |
| --- | --- | --- | --- |
| Laser Manufacturer |  | Laser Model |  |
| Laser Serial / Id # |  |
| Location of laser |  |
| Emergency Contact |  |

1.  ANSI Hazard Class: See label on laser          2.  Laser Type:

During Normal Operations of the Laser

Assure door remains closed and locked from the outside when laser is in use.

Note location of the following materials:

| MATERIAL NAME | LOCATION (Building and Room) |
| --- | --- |
| Laser Safety Guidelines |  |
| Copy of this SOP signed by all laser users |  |
| Documentation of Laser Safety Training |  |
| Manual for the Laser Listed Above |  |

Assure the appropriate safety equipment is on hand. Specify the safety equipment needed (including any PPE).

List the start-up procedure for the laser that will be used (including inserting the key, turning the power supply on, closing the shutter, activating the laser, etc. as specific to the laboratory).

List the experimental procedure (specific to the laboratory)

List emergency procedures (specific to the laboratory). Include procedures for evacuations, location of emergency procedure posting, location of safety equipment (eyewash, safety shower, fire extinguisher, etc.) and the location of the emergency shut-off switch.

List the emergency procedures (specific to the laboratory) here

List the shutdown procedure (specific to the laboratory laser). Include information on closing the shutter, turning the power supply off and turning the water off.

Insert the shutdown procedure (specific to the laboratory) here.

Remove laser activation key and store appropriately. Below list storage location of laser activation key (Building and Room).

Assure “Laser In Use” sign is no longer activated when laser key has been removed and laser is off.  Secure door to laser facility prior to leaving the area.

##### Non-Beam Hazards

| Assure lasing media used, including laser dyes, have safety data sheet (SDS) information in lab and personal protective equipment needed for handling lasing media or dyes (such as lab coat, safety glasses, and gloves). | Insert the name of any lasing media used with laser, the location of MSDS and the personal protective equipment needed for handling of laser dyes or media |
| --- | --- |
| Dyes should be mixed in a properly functioning fume hood and transported in sealed leak proof containers. | Insert location of fume hood used here |
| Dye pumps should sit in a secondary containment tray and concentrated halogen gases (greater than 5%) should be stored in a properly functioning gas cabinet. | Insert notation of any dye pumps or concentrated halogen gases used here |
| All compressed gases shall be secured and staff should be trained in the safe management of cylinders and the hazards associated with specific compressed gases. | Insert any compressed gases found in the laboratory or used with the laser here |
| Pay special attention to flammable solvents that are often used with laser dyes and to clean optical components. Assure these solvents are kept out of the direction of the laser beam. | List storage of any flammable solvents used with laser dyes or to clean optical components. |
| Remember that poor housekeeping can create physical hazards | Insert any equipment or physical hazards that need addressing along with the control measures taken to remove any hazards from the working area here |

Notice:  Only properly trained personnel shall work on high voltage systems (Electricians should be trained in CPR as a safety precaution).  The “buddy” system should always be used when working on electrical systems.

Note the placement of fire extinguishers and assure the laboratory staff knows how to use extinguishers and the fire alarm system.

Safety interlocks shall not be permanently disabled.

Any servicing of lasers or laser equipment shall be performed according to the manufacturer’s information or by a vendor service staff.  Prior to any servicing of the laser the appropriate ANSI warning sign stating “NOTICE – Laser Repair In Progress – DO NOT ENTER – Eye Protection Required” must be posted.

All enclosures, interlocks and safety devices must be replaced and verified operational prior to returning the laser to service.  Removal of the ANSI warning sign stating “NOTICE – Laser Repair In Progress – DO NOT ENTER – Eye Protection Required” must be removed after returning the laser to service

During Beam Alignments

Assure lab is secured and to avoid distractions mark the door with the following sign: “NOTICE

– Laser Alignment in Progress – DO NOT ENTER – EYE PROTECTION REQUIRED.”

Prepare and locate all equipment that is needed to perform the alignment.  A list of the equipment that will be used is listed below, along with the way the equipment will be used.

| NAME OF EQUIPMENT NEEDED FOR ALIGNMENT | LOCATION OF EQUIPMENT TO BE USED | THE WAY THE EQUIPMENT WILL BE USED FOR ALIGNMENT |
| --- | --- | --- |

Answer the following questions:

| Is the beam visible or invisible? |  |
| --- | --- |
| Is special equipment needed to view the beam? |  |
| Is the beam pulsed or continuous? |  |
| If the beam is pulsed, can a single pulse be used to limit exposure hazard during alignments? |  |

Note:  Use a low power alignment laser or the lowest beam power with appropriate laser protective eyewear.

Insert the requested information below:

| List beam power or the type or low power alignment laser that will be used. |  |
| --- | --- |
| List personal protective equipment (PPE) to be used during alignment. (Locate and inspect all PPE prior to use including lab coat, gloves, face shield, laser safety eyewear, etc.) |  |

Use the buddy system when performing alignments or let someone else know your location and check in with this individual on a regular basis.

Assure the optical table remains clear of obstructions during alignments.

Always close beam shutter when adjusting optics or entering the beam path.  Make sure all optics are secured to the table prior to opening the shutter.

List Specific Steps To Be Taken During the Alignment of the Laser

Insure all beam blocks, enclosures, and beam barriers are in place when the alignment is complete.

When alignment is complete remove the “NOTICE – Laser Alignment in Progress – DO NOT ENTER – EYE PROTECTION REQUIRED” sign from the room entrance and assure the appropriate ANSI laser warning sign is in place and correct.

By filing this form you are acknowledging that the information represented in the Standard Operating Procedure above is completed to the best of your knowledge and you believe this information to be true, accurate, and complete. This SOP should be reviewed prior to each use of the laser or laser systems.

Operator Review

I have read and understood this procedure and its contents and agree to follow this procedure each time I use the laser or laser system.

Name (print)				Signature				Date

_____________________             ____________________                     _________

_____________________             ____________________                     _________

_____________________             ____________________                     _________

_____________________             ____________________                     _________

_____________________             ____________________                     _________