Standard Operating Procedure

PLEASE INSERT INFORMATION SPECIFIC TO YOUR LABORATORY

| Chemical name/class: | Phenol (customization required – must complete red sections) | CAS #: | Various |
| --- | --- | --- | --- |
| PI: |  | Date: |  |
| Building: |  | Room #: |  |
|  | Designated Work Area: |  |

- Circumstances of Use:

This SOP must be customized for each lab using phenol. Use this section to describe the circumstances of use, including concentration and quantity.

- Potential Hazards:

Phenol, also known as carbolic acid, is an organic compound with the chemical formula C6H5OH. It is a white, crystalline solid at room temperature. It consists of a phenyl (-C6H5) group, bonded to a hydroxyl (-OH) group. Phenol is commonly used to separate proteins from nucleic acids, usually in combination with chloroform. It is a corrosive that affects the central nervous system, liver and kidneys. Phenol is irritating to the skin but has a local anesthetic effect. Hence, no pain may be felt on initial contact, but severe burns may develop after sometime. Phenol is rapidly absorbed through the skin so toxic amounts may be absorbed through relatively small areas. Synonyms: Hydroxybenzene Carbolic acid Benzenol Phenylic acid Phenic acid Initially, it can cause numbness or slight tingling, so employees may not be immediately aware of contact. If absorbed through the skin, it can cause muscle weakness, tremors, loss of coordination, shock, sudden collapse, coma, convulsions, organ damage, and death. It may cause severe eye injury (including blindness) if it contacts the eyes, and is extremely toxic (fatal) by ingestion. Inhalation exposure is less likely – it does not evaporate easily at room temperature, but can be inhaled if heated and/or misted, or in the case of a large spill. If inhaled, phenol can cause upper respiratory irritation, lung damage, and CNS impairment. The OSHA PEL and ACGIH TLV are both 5 ppm as an 8 hour time-weighted average. For more safety information, refer to Prudent Practices’ Laboratory Chemical Safety Summary for Phenol.

- Engineering Controls:

An eyewash (preferably eyewash/drench hose combination unit) must be located in the immediate area. If medium-large quantities are used (>~100 ml of 100% phenol), a safety shower is also required. Contact EHSO at 218-726-7139 for an assessment of the need for a safety shower if one is not available. Work should be performed only in a chemical fume hood. Skin must not occur.

- Work Practice Controls:

If other specific written procedures are required for work with phenol, you must list them here or attach a step-by-step procedure. (If no further procedures are needed beyond those listed in this template, you can delete this bullet.) It is highly recommended that labs using phenol (or reagents containing phenol – e.g., TRIzol) have polyethylene glycol 300 or 400 (PEG-300 or PEG-400, both of which are VISCOUS LIQUIDS) on hand in case of dermal exposure. See Section 8 for first aid measures if exposure occurs. Designate an area for working with phenol, and label it as such. Post the Phenol Hazard Alert in the vicinity of the designated phenol work area. Purchase in the smallest container that is practical for lab use. Purchase in a shatter-resistant container if available (such as PVC-coated glass). Keep containers closed as much as possible. Use in the smallest quantities and lowest concentration practicable for the experiment being performed. Avoid heating if possible as this increases risk of inhalation exposure. After work with phenol is complete, wipe down work area with soap and water solution.

- Personal protective equipment (PPE):

Gloves: Phenol is a very severe skin hazard that quickly penetrates standard laboratory gloves. Neoprene (double glove), viton, neoprene or butyl rubber gloves are recommended when handling phenol. Change gloves after handling phenol. If phenol and chloroform will be used together, please note that chloroform penetrates nitrile gloves even more readily than phenol and can degrade the gloves, allowing phenol to contact the skin. ChemTek Viton/Butyl glove which provides good protection from both of these chemicals. Latex and nitrile gloves are not recommended. Two pairs of 4-mil thick nitrile gloves covering the wrists (two gloves on each hand), or one pair of 8-mil thick nitrile gloves covering the wrists, can be used only when using extremely small quantities and for time periods less than 10 mins: Users must be aware that phenol breaks through 8-mil thick nitrile gloves within 10 minutes of contact. (Most nitrile exam gloves are only 4 mils thick.) If gloves become contaminated, they must be changed immediately. Face, eyes, body: The minimum protection is safety glasses and lab coat buttoned to neck and with sleeves extending to the wrists. If splashes may occur, wear a face shield with chemical splash goggles for eye and face protection. If body protection is needed, wear a chemical resistant gown (preferably open in the back), or fully buttoned lab coat with an impervious apron and chemical resistant sleeves (such as coated Tyvek or Silver Shield/4H) over the lab coat.

- Transportation and Storage:

Transport phenol in secondary containment, preferably a polyethylene or other non-reactive acid/solvent bottle carrier. Keep container in cool, well-ventilated area. Keep container tightly closed and sealed until ready for use. Store in secondary containment away from moisture, strong oxidizers, strong caustics, plastics, rubber, nitric acid, water + heat, and chemically active metals, such as aluminum and magnesium powder, sodium, potassium, and lithium. Store below eye level. Avoid storing on the floor. Avoid ignition sources.

- Waste Disposal:

Handle and store waste phenol according to the guidelines above and dispose of it following your lab safety plan.

- Exposures/Unintended contact:

Contact EHSO at 7139 for medical advice on occupational chemical exposures. See first aid measures below for phenol exposures. Quickly remove contaminated clothing. If a small area of skin has been exposed to phenol, swab polyethylene glycol 300 or 400 (PEG-300 or 400) onto the affected area immediately and repeatedly until the smell of phenol is no longer evident, then seek medical attention. If PEG-300 or 400 is not available, flush area with COPIOUS amounts of water (such as from a drench hose or safety shower) for at least 15 minutes, then seek medical attention. Olive oil and vegetable oil are effective in removing phenol from skin and retarding absorption. For larger areas of exposed skin or eye exposure, flush area with COPIOUS amounts of water for at least 15 minutes, then seek immediate medical attention. Please note that using high-density water irrigation will reduce phenol uptake, but if lesser amounts of water are used it will merely dilute the phenol and increase the area of exposure. Immediately rinse eyeball and inner surface of eyelid with water for 15 minutes by forcibly holding the eye open. Contact EHSO and notify of any remedy that has been conducted (ext. 7139) If there is respiratory irritation associated with exposure, remove all persons from the contaminated area call 911.

- Spill Procedure:

Note: Do not attempt cleanup if you feel unsure of your ability to do so or if you do not know the proper procedure to clean up the spill. Small spills: Use vermiculite or commercially available spill absorbent material. Collect the spilled material in a clearly labeled hazardous waste container. Place absorbent pillows/pads around and flood area with water then cover with caustic soda ash to neutralize the residual material. Large spills: Notify others in room. Evacuate the lab/room immediately. Call 911 and EH0S at ext 7139. Close lab doors and post warning signs at entrances/exits notifying others regarding the spill. Prevent unnecessary entry into the spill area. Provide assistance and information to spill responders.

- Training of personnel:

Training on lab-specific procedures is required for all personnel, and must be documented (topics covered, date, employee names and signatures). All personnel shall read and fully adhere to the laboratory-specific SOP for phenol, and shall document that they have read it by signing and dating the SOP.

“I have read and understand this SOP. I agree to fully adhere to its requirements.”

| Last | First | Duke ID | Signature | Date |
| --- | --- | --- | --- | --- |